## Slide 1: Switchgear up to 24kV
mV switchgear up to 24kV
fluorinated alternatives
considered
2028+
2026-2027
Can use natural alternatives
0-1 bids received with natural alternatives
no bids received with natural altneratives
2 or more bids received with natural alternatives
no bid is received for an F-gas with GWP <1000
Can use GWP<1000
Free to use any technology, including SF6
1 bid received with natural alternatives
no bid is received for an F-gas with GWP <1000
Can use GWP<1000
Must use natural alternatives
Must use natural alternatives
Free to use any technology, including SF6

## Slide 2: Switchgear 24-52kV
mV switchgear 24-52kV
fluorinated alternatives
considered
2032+
2030-31
Can use natural alternatives
0-1 bids received with natural alternatives
no bids received with natural altneratives
2 or more bids received with natural alternatives
no bid is received for an F-gas with GWP <1000
Can use GWP<1000
Free to use any technology, including SF6
1 bid received with natural alternatives
no bid is received for an F-gas with GWP <1000
Can use GWP<1000
Must use natural alternatives
Must use natural alternatives
Free to use any technology, including SF6

## Slide 3: Switchgear 52-145kV
mV switchgear 52-145kV
fluorinated alternatives with GWP1 or more
considered
2030+
2028-29
Can use natural alternatives
0-1 bids received with GWP<1
no bids received with an F-gas with GWP1-1000
2 or more bids received with GWP<1
no bid is received for an F-gas with GWP1 -1000
Can use GWP<1000
Free to use any technology, including SF6
1 bid received with GWP<1
no bid is received for an F-gas with GWP <1
Can use GWP<1000
Free to use any technology, including SF6
Can use F-gas
GWP<1
Must use natural alternatives or GWP<1
Must use natural alternatives or GWP<1

## Slide 4: Switchgear 145kV plus
mV switchgear 145kV plus
fluorinated alternatives with GWP1 or more
considered
2034+
2032-33
Can use natural alternatives
0-1 bids received with GWP<1
no bids received with an F-gas with GWP1-1000
2 or more bids received with GWP<1
no bid is received for an F-gas with GWP1 -1000
Can use GWP<1000
Free to use any technology, including SF6
1 bid received with GWP<1
no bid is received for an F-gas with GWP <1
Can use GWP<1000
Free to use any technology, including SF6
Can use F-gas
GWP<1
Must use natural alternatives or GWP<1
Must use natural alternatives or GWP<1